## Cooling tower
1
Cooling tower
Example from [1] | [9 empty] | Whith the VBA function |  |  |  | Air entering the tower |  |  |  |  | Air leaving the tower
[10 empty] | AtmosphericPressurePa_H |  |  |  | tair,in = | 30 | ºC |  |  | tair,out = | 40 | ºC
Data | [9 empty] | (using Goal seek) |  |  |  | f = | 50 | % |  |  | fair,out = | 100 | %
[10 empty] | Patm = | AtmosphericPressurePa_H |  |  | H = | 717.2556 | m.a.s.l. |  |  | H = | 717.2556 | m.a.s.l.
Water flow | [9 empty] | H = | 717.2556 | m.a.s.l.
mw = | 100 | kg/s | [7 empty] | Patm = | #VALUE! | kPa |  | Enthalpy of entering air |  |  |  |  | Enthalpy of leaving air
Water entering temperature | [13 empty] | hair,in = | Sicro_Enthalpy_tdb_f_H |  |  |  | hair,in = | Sicro_Enthalpy_tdb_f_H
tw,in = | 40 | ºC | [7 empty] | Air average temperature |  |  |  | hair,in = | #VALUE! | kJ(kg |  |  | hair,in = | #VALUE! | kJ(kg
Water leaving temperature | [9 empty] | tair,ave = | tair,in + tair,out
tw,out = | 33 | ºC | [7 empty] | tair,in = | 40 | ºC |  | Saturated vapor pressure |  |  |  |  | Sicro_Saturated_vapor_pressure_t(t)
[10 empty] | tair,out = | 33 | ºC |  | pw_sat = | Sicro_Saturated_vapor_pressure_t |  |  |  | pw_sat = | Sicro_Saturated_vapor_pressure_t
Ambien air | [9 empty] | tair,ave = | 36.5 | ºC |  | pw_sat = | #VALUE! | Pa |  |  | pw_sat = | #VALUE! | Pa
p = | 93 | kPa
tdb = | 30 | ºC | [7 empty] | Water specific heat at constant |  |  |  | Vapor pressure in ambient air |  |  |  |  | Vapor pressure in outlet air
f = | 50 | % | [7 empty] | tair,ave = | 36.5 | ºC |  | pvap = | f * pw_sat |  |  |  | pvap = | f * pw_sat
[10 empty] | Cp = | SaturatedWaterSpecificHeat_t |  |  | f = | 50 | % |  |  | f = | 100 | %
Assume that the air ends up | [9 empty] | Cp = | #VALUE! | kJ/(kg*K) |  | pw_sat = | #VALUE! | Pa |  |  | pw_sat = | #VALUE! | Pa
with thermodynamic equilibrium | [13 empty] | pvap = | #VALUE! | Pa |  |  | pvap = | #VALUE! | Pa
with incoming water
tair,out = | tw,in | [12 empty] | Absolute humidity of entering air |  |  |  |  | Absolute humidity of leaving air
tw,in = | 40 | ºC | [11 empty] | x = | Sicro_Absolute_Humidity_tdb_f_H |  |  |  | x = | Sicro_Absolute_Humidity_tdb_f_H
tair,out = | 40 | ºC | [11 empty] | xair,in = | #VALUE! | kg / kg |  |  | xair,out = | #VALUE! | kg / kg
fair,out = | 100 | % | [11 empty] | Enthalpy of air entering the tower |  |  |  |  | Enthalpy of air leaving the tower
[14 empty] | h = | Sicro_Enthalpy_tdb_f_H |  |  |  | h = | Sicro_Enthalpy_tdb_f_H
Required is the air flow rate needed | [13 empty] | h = | #VALUE! | kJ/kg |  |  | h = | #VALUE! | kJ/kg
to operate the tower according the
given data.
2
Cooling tower
3
4
Ref [1] replaces equation (n) with the simplified equation (Eq. 2)
The numerically application shows that the simplification is totally justified
5
6
mw2 : water flow leaving the tower
mw2 = | mw1 * ( cpw*tw1*(x2-x1 ) - ( (1+x2 ) *h2) -(1+x1)*h1 ) / ( cpw*tw2*(x2-x1 ) - ( (1+x2 ) *h2) -(1+x1)*h1 )
mw1 = | 100 | kg/s
ha2 = | #VALUE! | kJ/kg |  | kJ/kg
ha1 = | #VALUE! | kJ/kg
xa2 = | #VALUE! | kg/kg
xa1 = | #VALUE! | kg/kg
Tw2 = | 33 | ºC
Tw1 = | 40 | ºC
cpw = | #VALUE! | kJ/(kg*K)
mw2 = | #VALUE! | kg/s
Dmw = | mw1 - mw2
mw1 = | 100 | kg/s
mw2 = | #VALUE! | kg/s
Dmw = | #VALUE! | kg/s
7
Air entering the tower |  |  | Mass of water leaving the
tair,in = | 30 | ºC | water flow and entering into
f = | 50 | % | the air flow
H = | 717.2556 | m.a.s.l. | Dmw = | #VALUE! | #VALUE! | kg/s
x = | Sicro_Absolute_Humidity_tdb_f_H
xair,in = | #VALUE! | kg / kg | Dry air flow rate |  |  |  |  | Inlet air mass flow |  |  |  | Inlet air volume flow rate
hair,in = | Sicro_Enthalpy_tdb_f_H |  | mda = | Dmw / Dx | Dmw / Dx |  |  | ma1 = | mda * (1 + x1) |  |  | Va1 = | ma1 / rair,in
hair,in = | #VALUE! | kJ(kg | Dmw = | #VALUE! | #VALUE! | kg/s |  | mda = | #VALUE! | kg/s |  | ma1 = | #VALUE! | kg/s
rair,in = | Sicro_Density_tdb_f_H |  | Dx = |  | #VALUE! | kg / kg |  | xair,in = | #VALUE! | kg/kg |  | rair,in = | #VALUE! | kg/m3
rair,in = | #VALUE! | kg/m3 | mda = |  | #VALUE! | kg/s |  | ma1 = | #VALUE! | kg/s |  | Va1 = | #VALUE! | m3/s
Absolute humidity of leaving air |  |  | Water flow in inlet air |  |  |  |  | Outlet air mass flow
tdb = | 40 | ºC | mw1 = | mda*xair,in | mda*xair,in |  |  | ma2 = | mda * (1 + x1)
f = | 100 | % | mda = |  | #VALUE! | kg/s |  | mda = | #VALUE! | kg/s
H = | 717.2556 | m.a.s.l. | xair,in = | #VALUE! | #VALUE! | kg/kg |  | xair,out = | #VALUE! | kg/kg
x = | Sicro_Absolute_Humidity_tdb_f_H |  | mw1 = |  | #VALUE! | kg w/s |  | ma2 = | #VALUE! | kg/s
xair,out = | #VALUE! | kg / kg
hair,in = | Sicro_Enthalpy_tdb_f_H |  | Water flow in outlet air |  |  |  |  | Difference in the air flows
hair,in = | #VALUE! | kJ(kg | mw2 = | mda*xair,in | mda*xair,out |  |  | Dma = | ma2 - ma1
|  |  | mda = |  | #VALUE! | kg/s |  | ma2 = | #VALUE! | kg/s
Absolute humidity change of the air flow |  |  | xair,out = | #VALUE! | #VALUE! | kg/kg |  | ma1 = | #VALUE! | kg/s
Dx = | xair,out - xAir,in | xair,out - xair,in | mw2 = |  | #VALUE! | kg w/s |  | Dma = | #VALUE! | kg/s
xair,out = | #VALUE! | kg / kg
xair,in = | #VALUE! | kg / kg
Dx = | #VALUE! | kg / kg
8
Mas flow rate of water entering the tower
[16 empty] | mw1 = | 100 | kg/s | kg/s
Dqw = | mw1 * cpw * tw1 - mw2 * cpw * tw2 |  |  |  | Dqa = | mda * ( ( 1 + x2) * ha2 - (1 + x1 ) * ha1 ) |  |  |  |  | Dmwa = | mda * (x2 - x1) |  |  |  | Mas flow rate of water leaving the tower
mw1 = | 100 | kg/s |  |  | mda = | #VALUE! | kg/s |  |  |  | mda = | #VALUE! |  |  |  | mw2 = | #VALUE! | kg/s | kg/s
mw2 = | #VALUE! | kg/s |  |  | x2 = | #VALUE! | kg/kg |  |  |  | x2 = | #VALUE! | kg/kg
cpw = | #VALUE! | kJ/(kg*K) |  |  | x1 = | #VALUE! | kg/kg |  |  |  | x1 = | #VALUE! | kg/kg |  |  | Mas flow rate of air entering the tower
tw1 = | 40 | ºC |  |  | hair,in = | #VALUE! | kJ(kg |  |  |  | Dmwa = | #VALUE! | kg/s |  |  | ma1 = | #VALUE! | kg/s
tw2 = | 33 | ºC |  |  | ha2 = | #VALUE! | kJ(kg
Dqw = | #VALUE! | kJ |  |  | Dqa = | #VALUE! | kJ | [8 empty] | Mas flow rate of air leaving the tower
[16 empty] | ma2 = | #VALUE! | kg/s
Inlet air volume flow rate
[16 empty] | Va1 = | #VALUE! | m3/s
9
mw1
mw2
mda
mda
mwa1
mwa2
Dmw
Dqw
Hw1
tw2
tw1
x2
x1
Ha1
Ha2
Hw2
ma1
ma2
a2
a1
w2
w1
mw1
mw2
mda
mda
mwa1
mwa2
Dmw
Dqw
Hw1
tw2
tw1
x2
x1
Ha1
Ha2
Hw2
ma1
ma2
a2
a1
w2
w1

## Example Ref.1
page 1 of 9
[1] | Cooling tower example
Data
Water flow
[8 empty] | mw = | 100 | kg/s
Water entering temperature
[8 empty] | tw,in = | 40 | ºC
Water leaving temperature
[8 empty] | tw,out = | 33 | ºC
Ambien air
[8 empty] | p = | 93 | kPa
[8 empty] | tdb = | 30 | ºC
[8 empty] | f = | 50 | %
Assume that the air ends up
with thermodynamic equilibrium
with incoming water
[8 empty] | tair,out = | tw,in
[8 empty] | tw,in = | 40 | ºC
[8 empty] | tair,out = | 40 | ºC
[8 empty] | fair,out = | 100 | %
[02]
AtmosphericPressurePa_H(H)
[8 empty] | H = | 717.2556 | m.a.s.l.
[8 empty] | Patm = | #VALUE! | kPa
page 2 of 9
page 3 of 9
page 4 of 9
page 5 of 9
page 6 of 9
page 7 of 9
[5 empty] | Air entering the tower |  |  |  |  | Air leaving the tower
[5 empty] | tair,in = | 30 | ºC |  |  | tair,out = | 40 | ºC
[5 empty] | f = | 50 | % |  |  | fair,out = | 100 | %
[5 empty] | H = | 717.2556 | m.a.s.l. |  |  | H = | 717.2556 | m.a.s.l.
[5 empty] | Enthalpy of entering air |  |  |  |  | Enthalpy of leaving air
[5 empty] | hair,in = | Sicro_Enthalpy_tdb_f_H |  |  |  | hair,in = | Sicro_Enthalpy_tdb_f_H
[5 empty] | hair,in = | #VALUE! | kJ(kg |  |  | hair,in = | #VALUE! | kJ(kg
[5 empty] | Saturated vapor pressure |  |  |  |  | Sicro_Saturated_vapor_pressure_t(t)
[5 empty] | pw_sat = | Sicro_Saturated_vapor_pressure_t |  |  |  | pw_sat = | Sicro_Saturated_vapor_pressure_t
[5 empty] | pw_sat = | #VALUE! | Pa |  |  | pw_sat = | #VALUE! | Pa
| Air pressure |  |  |  | Vapor pressure in ambient air |  |  |  |  | Vapor pressure in outlet air
| p = | 93 | kPa |  | pvap = | f * pw_sat |  |  |  | pvap = | f * pw_sat
[5 empty] | f = | 50 | % |  |  | f = | 100 | %
[5 empty] | pw_sat = | #VALUE! | Pa |  |  | pw_sat = | #VALUE! | Pa
[5 empty] | pvap = | #VALUE! | Pa |  |  | pvap = | #VALUE! | Pa
[5 empty] | Absolute humidity of entering air |  |  |  |  | Absolute humidity of leaving air
[5 empty] | x = | Sicro_Absolute_Humidity_tdb_f_H |  |  |  | x = | Sicro_Absolute_Humidity_tdb_f_H
[5 empty] | xair,in = | #VALUE! | kg / kg |  |  | xair,out = | #VALUE! | kg / kg
[5 empty] | Enthalpy of air entering the tower |  |  |  |  | Enthalpy of air leaving the tower
[5 empty] | h = | Sicro_Enthalpy_tdb_f_H |  |  |  | h = | Sicro_Enthalpy_tdb_f_H
[5 empty] | h = | #VALUE! | kJ/kg |  |  | h = | #VALUE! | kJ/kg
page 8 of 9
Air average temperature
|  | tair,ave = | tair,in + tair,out
|  | tair,in = | 30 | ºC
|  | tair,out = | 40 | ºC
|  | tair,ave = | 35 | ºC
Water specificheat at constant pressure
|  | Cp = | SaturatedWaterSpecificHeat_t
|  | Cp = | #VALUE! | kJ/(kg*K)
|  | ha2 = | #VALUE! | kJ/kg
|  | ha1 = | #VALUE! | kJ/kg
|  | xa2 = | #VALUE! | kg/kg
|  | xa1 = | #VALUE! | kg/kg
|  | Tw2 = | 40 | ºC
|  | Tw1 = | 30 | ºC
|  | cpw = | #VALUE! | kJ/(kg*K)
page 9 of 9
Equation from sheet Cooling tower
Mass flow rate of water flow
mw1 : water flow entering the tower
mw2 : water flow leaving the tower
( Eq. 7)
| mw2 = | mw1 * ( (ha2 - ha1 ) - cpw * Tw1 * ( xa2 - xa1) ) / ( (ha2 - ha1 ) - cpw * Tw2 * ( xa2 - xa1) ) | [6 empty] | mw2 = | mw1 * ( cpw*tw1*(x2-x1 ) - ( (1+x2 ) *h2) -(1+x1)*h1 ) / ( cpw*tw2*(x2-x1 ) - ( (1+x2 ) *h2) -(1+x1)*h1 )
| mw1 = | 100 | kg/s | [5 empty] | mw1 = | 100 | kg/s
| ha2 = | #VALUE! | kJ/kg | [5 empty] | ha2 = | #VALUE! | kJ/kg |  | Result obtained for the water flow rate at the outlet of the tower:
| ha1 = | #VALUE! | kJ/kg | [5 empty] | ha1 = | #VALUE! | kJ/kg |  | Rsult with equation (Eq. 7)
| xa2 = | #VALUE! | kg/kg | [5 empty] | xa2 = | #VALUE! | kg/kg |  | mw2 = | #VALUE! | kg/s
| xa1 = | #VALUE! | kg/kg | [5 empty] | xa1 = | #VALUE! | kg/kg |  | Result with equation (p)
| Tw2 = | 33 | ºC | [5 empty] | Tw2 = | 33 | ºC |  | mw2 = | #VALUE! | kg/s
| Tw1 = | 40 | ºC | [5 empty] | Tw1 = | 40 | ºC |  | Difference
| cpw = | #VALUE! | kJ/(kg*K) | [5 empty] | cpw = | #VALUE! | kJ/(kg*K) |  | Dmw2 = | #VALUE! | - | #VALUE!
| mw2 = | #VALUE! | kg/s | [5 empty] | mw2 = | #VALUE! | kg/s |  | Dmw2 = | #VALUE! | kg/s
[13 empty] | Dmw2 % = | #VALUE! | %
| Dm = | mw1 - mw2 | [6 empty] | Dm = | mw1 - mw2 | kg/s
| mw1 = | 100 | kg/s | [5 empty] | mw1 = | 100 | kg/s |  | Thus, the simplification from [1] is justified.
| mw2 = | #VALUE! | kJ/kg | [5 empty] | mw2 = | #VALUE! | kg/s |  | (see sheet Example Ref.1)
| Dm = | #VALUE! | kJ/kg | [5 empty] | Dm = | #VALUE! | kg/s
[7 empty] | mw2 = | O286* (O293*O292*(O289-O290 ) - ( (1+O289 )*O287 -(1+O290)*O288 ) ) / (O293*O291*(O289-O290 ) - ( (1+O289 )*O287 -(1+O290)*O288 ) )
[7 empty] | mw2 = | #VALUE! | kg/s
(Eq. 1)
(Eq. 2)
(Eq. 7)
(Eq. 1)
(Eq. 7)
(Eq. 2)

## Properties
3
| D1. Atmospheric air properties, as function of temperature t ºC | [5 empty] | [6] | [13 empty] | Total 10
1 | Specific heat of air at constant pressure |  |  |  |  | 2 | Specific heat ratio of air |  |  | 3 | Specific enthalpy of air |  |  | (repeated) |  | Atmospheric dry air properties |  |  |  | -73.15 ºC <= t <= 726.85 ºC
| Cp: Specific heat at constant pressure kJ/(kg*K) | [5 empty] | k: Specific heat ratio - |  |  |  | h: Specific enthalpy of air kJ/kg
| T: Absolute temperature [K] | [5 empty] | T: Absolute temperature [K] |  |  |  | 'T: Absolute temperature [K] |  |  |  |  | Input data: Temperature |  | t = | 45 | ºC
| Data from [1], Table 2, page 34 | [5 empty] | Data from [1], Table 2, page 34 |  |  |  | Gas_AirEnthalpy_tK(tK)
[16 empty] | Function |  |  | Results
| Specific heat at constant pressure. VBA | [5 empty] | Specific heat ratio. VBA |  |  |  | VBA function |  |  |  | 11 | Gas_AirConductivity_tC |  | k = | #VALUE! | W/(m*K)
| Cp = | Gas_AirCp_tK |  |  |  |  | k = | Gas_AirK_tK |  |  | h = | Gas_AirEnthalpy_tK |  |  | 12 | Gas_AirSpecificHeat_tC |  | Cp = | #VALUE! | kJ/(kg*K)
| T = | 194 | K |  |  |  | T = | 220 | K |  | T = | 220 | K |  | 13 | Gas_AirPrandtl_tC |  | Pr = | #VALUE! | -
| Cp = | #VALUE! | kJ/(kg*K) |  |  |  | k = | #VALUE! | - |  | Cp = | #VALUE! | kJ/(kg*K) |  | 14 | Gas_AirDensity_tC |  | r = | #VALUE! | kg/m3
[15 empty] | 15 | Gas_AirAbsoluteViscosity_tC |  | m = | #VALUE! | Pa*s
| Temperature range | [5 empty] | Temperature range |  |  |  | Temperature range |  |  |  | 16 | Gas_AirKinematicViscosity_tC |  | n = | #VALUE! | m2/s
| 56 [K] <= T <= 3000 [K] | [5 empty] | 56 [K] <= T <= 3556 [K] |  |  |  | 56 [K] <= T <= 3611 [K] |  |  |  | 17 | Gas_AirThermalDiffusivity_tC |  | a = | #VALUE! | m2/s
19 | Air atmospheric pressure
| Patm = | Gas_AirAtmosphericPressure_Has(H) | [12 empty] | 18 | Gas_Air_properties_array_output_tC
| H = | 550 | m.a.s.l. | [14 empty] | t = | 45 | ºC
| Patm = | #VALUE! | Pa | [12 empty] | Gas_AirConductivity_tC |  | k = | #VALUE! | W(m*K)
[16 empty] | #VALUE! |  | Cp = | #VALUE! | kJ(kg*K)
[16 empty] | Gas_AirPrandtl_tC |  | Pr = | #VALUE! | (-)
[16 empty] | Gas_AirDensity_tC |  | r = | #VALUE! | kg/m³
[16 empty] | Gas_AirAbsoluteViscosity_tC |  | m = | #VALUE! | Pa s
[16 empty] | Gas_AirKinematicViscosity_tC |  | n = | #VALUE! | m²/s
[16 empty] | Gas_AirThermalDiffusivity_tC |  | a = | #VALUE! | m²/s
7
rev.cjc.23.09.2018
| D6. Psychrometric Functions | [16 empty] | [01]
Sicro_Saturated_vapor_pressure_t(t)
|  | Dry bulb temperature |  | tdb | °C |  | Absolute humidity |  | x | kg w/kg da |  | Dew point temperature |  | tdp | ºC |  |  | t = | 12 | ºC
|  | Relative humidity |  | f | % |  | Specific volume |  | v | m3/kg da |  | Specific enthalpy |  | ent | kJ/kg da |  |  | pw_sat = | #VALUE! | Pa
|  | Height above sea level |  | H | m.a.s.l. |  | Density |  | r | kg /m3 |  | Wet bulb temperature |  | twb | ºC
[02]
|  | In the functions to calculate the wet bulb temperature (functions 16, 36, 46 and 56), some limits to the input values of | [10 empty] | Maximum values for the input parameters |  |  |  |  | AtmosphericPressurePa_H(H)
|  | the dry bulb temperature, relative humidity and height above sea level have been set to to obtain an acceptable maximum | [10 empty] | tdbMax = | 96 | °C |  |  | H = | 0 | m.a.s.l.
|  | number of iterations. If required, the maximum values can be changed in the code. These limits depend, among others, | [10 empty] | f Max = | 100 | % |  |  | Patm = | #VALUE! | Pa
|  | on the specific programation. For this case, the maximum values are selected as follow: | [10 empty] | Hmax = | 5350 | m.a.s.l.
[03]
|  |  | Groups | [14 empty] | Sicro_Saturated_vapor_temperature_pPa(p)
|  |  |  | Group 1 |  |  | Group 2 |  |  | Group 3 |  |  | Group 4 |  |  | Group 5 |  | p = | #VALUE! | Pa
|  |  |  | tdb, f , H |  |  | tdb, twb, H |  |  | tdb, x, H |  |  | ent, x, H |  |  | tdb, ent, H |  | tw_sat = | #VALUE! | ºC
| tdb | ºC | tdb | 92 | °C | tdb | 92 | °C | tdb | 92 | °C | tdb | #VALUE! | [48] | tdb | 92 | °C
| f | % | f | 80 | % | f | #VALUE! | [27] | f | #VALUE! | [37] | f | #VALUE! | [47] | f | #VALUE! | [57]
| H | m s.n.m. | H | 3.353 | m | H | 3.353 | m | H | 3.353 | m | H | 3.353 | m | H | 3.353 | m
| x | kg/kg | x | #VALUE! | [11] | x | #VALUE! | [21] | x | #VALUE! | kg/kg | x | #VALUE! | kg/kg | x | #VALUE! | [51] | Total D6: | 38
| v | m3/kg | v | #VALUE! | [12] | v | #VALUE! | [22] | v | #VALUE! | [32] | v | #VALUE! | [42] | v | #VALUE! | [52]
| r | kg/m3 | r | #VALUE! | [13] | r | #VALUE! | [23] | r | #VALUE! | [33] | r | #VALUE! | [43] | r | #VALUE! | [53]
| tdp | ºC | tdp | #VALUE! | [14] | tdp | #VALUE! | [24] | tdp | #VALUE! | [34] | tdp | #VALUE! | [44] | tdp | #VALUE! | [54]
| ent | kJ/kg | ent | #VALUE! | [15] | ent | #VALUE! | [25] | ent | #VALUE! | [35] | ent | #VALUE! | kJ/kg | ent | #VALUE! | KJ/kg
| twb | ºC | twb | #VALUE! | [16] | twb | #VALUE! | ºC | twb | #VALUE! | [36] | twb | #VALUE! | [46] | twb | #VALUE! | [56]
|  | Notes: | - This version has been adapted to be used also in LibreOffice | [7 empty] | Numbers in square brakets are the numbers of the functions in the code
- Few depent variables will not require the three inputs
when they are calculated individually. But because the calculation method
makes use of other functions, the complete set of input variables
is required.
Saturated water specific heat
| t = | 35 | ºC
| cpw = | #VALUE! | kJkg*K)

## Ref
[1] | Aalto University
Kari Alane
Cooling tower example
https://mycourses.aalto.fi/pluginfile.php/186904/mod_resource/content/1/L4.pdf
http://old.cmat.aalto.fi/en/search/?cx=000834515608939422537%3Asldlfw35fs8&cof=FORID%3A10&ie=UTF-8&hl=&q=Cooling+towers
http://old.cmat.aalto.fi/en/