## Fysikalkonstanter (hidden)
0.50194
0.16289
-0.13036
0.90792
-0.55112
0.14654
0.23562
0.78939
0.67366
1.2076
0.067067
-0.084337
-0.27464
-0.74354
-0.95946
-0.68734
-0.49709
0.19529
0.14583
0.26313
0.34725
0.21349
0.10075
-0.032932
-0.027045
-0.025309
-0.026776
-0.08229
0.060225
-0.020259

## Saturconstants (hidden)
1.8541 | 0.00048363 | 6.6961e-06 | -5.8899e-08 | 2.9089e-09 | -2.9894e-11 | 1.6939e-13 | -4.9703e-16 | 5.9702e-19
3.772 | 0.031571 | -0.0012265 | 0.00012375 | -5.2329e-06 | 1.2414e-07 | -1.6292e-09 | 1.1048e-11 | -2.9488e-14
17.15 | 0.797 | 4.18e-25
4.2169 | -0.0033009 | 0.00010818 | -1.8289e-06 | 1.8711e-08 | -1.1209e-10 | 3.9618e-13 | -7.6649e-16 | 6.3738e-19
4.867 | 0.0088032 | 0.00051288 | -3.6016e-05 | 1.598e-06 | -3.8219e-08 | 5.1797e-10 | -3.6997e-12 | 1.0965e-14
10.11 | 0.447 | 2.3003e-25
8.8328 | 0.039019 | -0.00042952 | 1.1599e-05 | -1.3394e-07 | 7.5945e-10 | -2.0953e-12 | 2.2562e-15 | 0
17.5691 | 0.032647 | -0.0025664 | 0.00020713 | -6.8988e-06 | 1.2296e-07 | -1.1867e-09 | 5.758e-12 | -1.0732e-14
29.72 | 0.1125 | 0.51125
0.00055804 | 1.9612e-05 | 1.2022e-07 | -2.6656e-10 | 1.1655e-11 | -2.4401e-13 | 1.9915e-15 | -7.2686e-18 | 9.8815e-21
106.4964 | -0.40543 | -0.0015892 | 7.3563e-05 | -1.5144e-06 | 1.4066e-08 | -4.2449e-11 | -5.3442e-14 | 0
52.16 | -0.3525 | -0.44875
16.7069 | 0.038046 | 0.0042319 | -0.00018621 | 3.9925e-06 | -4.524e-08 | 2.7665e-10 | -8.5699e-13 | 1.0498e-15
51.0197 | -0.15623 | 0.10958 | -0.0081841 | 0.00030251 | -6.1002e-06 | 6.8655e-08 | -4.0396e-10 | 9.682e-13
293 | 30.2143 | 1.4732
564.8432 | 2.1002 | -0.015009 | 0.00014425 | -1.9926e-06 | 1.7579e-08 | -8.6055e-11 | 2.1317e-13 | -2.0814e-16
614.9913 | -0.80679 | -0.058359 | 0.003927 | -0.00012188 | 1.775e-06 | -1.2194e-08 | 3.2016e-11 | 0
418 | 4.8929 | 1.3884
0.97884 | 0.0013932 | -0.0001079 | 2.7045e-06 | -3.062e-08 | 1.8193e-10 | -5.7663e-13 | 9.1363e-16 | -5.6238e-19
0.074645 | 0.0030769 | 1.3104e-05 | 3.476e-07 | -4.8716e-09 | 2.1214e-11 | 1.277e-14 | -3.5596e-16 | 7.2175e-19
5.387 | 3.2069 | 8.5748e-29
7.802 | 4.338 | 1.3786e-28

## Datas (hidden)
16.836
28.5607
-54.3892
0.43307
-0.65477
0.085652
0.066704
1.389
0.083901
0.026147
-0.033734
0.45209
0.1069
-0.59753
-0.088475
0.59581
-0.51593
0.2075
0.11906
-0.098672
0.1684
-0.058094
0.0065524
0.00057102
193.6588
-1388.5224
4126.6072
-6508.2117
5745.9841
-2693.0884
523.5719
0.76333
0.40061
0.086361
-0.85323
0.34602
-7.6912
-26.0802
-168.1707
64.2329
-118.9646
4.1671
20.9751
1000000000
6
6824.6877
-542.2064
-20966.662
39412.8679
-67332.7774
99023.8103
-109391.1774
85908.4167
-45111.6874
14181.3893
-2017.2711
7.9827
-0.026166
0.0015224
0.022843
242.1647
1.2697e-10
2.0748e-07
2.174e-08
1.1057e-09
12.9344
1.3081e-05
6.0476e-14
0.84384
0.00053622
1.72
0.073423
0.049759
0.65372
1.15e-06
1.5108e-05
0.14188
7.0028
0.00029953
0.204
-6.8399
-0.017226
-7.7718
4.2046
-2.7681
2.1042
-1.1465
0.22314
0.11625
-0.08209
0.019413
-0.0016947
-4.3116
0
0.70864
12.3679
-12.0389
5.4044
-0.99387
0.062752
-7.7474
0
-4.2989
43.1431
-14.1619
4.0417
1.5555
-1.6657
0.32488
29.3655
0
7.9484e-06
80.886
-83.6153
35.8637
7.519
-12.6161
1.0972
2.1215
-0.54653
8.3288
2.7597e-06
-0.00050907
210.6363
0.055289
-0.23364
0.36971
-0.25964
0.068281
-257.1601
-151.8784
22.2072
-180.204
2357.0962
-14623.357
45429.1663
-70535.5643
43815.7143
-1.7176
3.5264
-2.6909
0.9071
-0.11388
1.301
-2.6428
1.9968
-0.66616
0.082709
0.00034267
-0.0012365
0.001155
0
0

## Air Data (hidden)
-73.15 | 0.0181 | 1.007 | 0.737 | 1.7458 | 1.325e-05
-23.15 | 0.0223 | 1.006 | 0.72 | 1.3947 | 1.596e-05
26.85 | 0.0263 | 1.007 | 0.707 | 1.1614 | 1.846e-05
76.85 | 0.03 | 1.009 | 0.7 | 0.995 | 2.082e-05
126.85 | 0.0338 | 1.014 | 0.69 | 0.8711 | 2.301e-05
176.85 | 0.0373 | 1.021 | 0.686 | 0.774 | 2.507e-05
226.85 | 0.0407 | 1.03 | 0.684 | 0.6964 | 2.701e-05
276.85 | 0.0439 | 1.04 | 0.683 | 0.6329 | 2.884e-05
326.85 | 0.0469 | 1.051 | 0.685 | 0.5804 | 3.058e-05
376.85 | 0.0497 | 1.063 | 0.69 | 0.5356 | 3.225e-05
426.85 | 0.0524 | 1.075 | 0.695 | 0.4975 | 3.388e-05
476.85 | 0.0549 | 1.087 | 0.702 | 0.4643 | 3.546e-05
526.85 | 0.0573 | 1.099 | 0.709 | 0.4354 | 3.698e-05
576.85 | 0.0596 | 1.11 | 0.716 | 0.4097 | 3.843e-05
626.85 | 0.062 | 1.121 | 0.72 | 0.3868 | 3.981e-05
676.85 | 0.0643 | 1.131 | 0.723 | 0.3666 | 4.113e-05
726.85 | 0.0667 | 1.141 | 0.726 | 0.3482 | 4.244e-05
t | k | Cp | Pr | ragua | m
ºC | W/(m*K) | kJ/(kg*K) | - | kg/m3 | Pa s
Atmospheric air properties as a function of the temperature
Atmospheric air properties as a function
of the temperature
(Table A.4) | [1]

## Water Data (hidden)
0 | 0.569 | 4.217 | 12.99 | 1000 | 0.00175 | 1.75e-06 | 1.3493e-07 | 0.006108
1.85 | 0.574 | 4.211 | 12.22 | 1000 | 0.001652 | 1.652e-06 | 1.3631e-07 | 0.0069793
6.85 | 0.582 | 4.198 | 10.26 | 1000 | 0.001422 | 1.422e-06 | 1.3864e-07 | 0.0099092
11.85 | 0.59 | 4.189 | 8.81 | 1000 | 0.001225 | 1.225e-06 | 1.4085e-07 | 0.013876
16.85 | 0.598 | 4.184 | 7.56 | 999.001 | 0.00108 | 1.0811e-06 | 1.4307e-07 | 0.019178
21.85 | 0.606 | 4.181 | 6.62 | 998.004 | 0.000959 | 9.6092e-07 | 1.4523e-07 | 0.026181
26.85 | 0.613 | 4.179 | 5.83 | 997.009 | 0.000855 | 8.5756e-07 | 1.4713e-07 | 0.035323
31.85 | 0.62 | 4.178 | 5.2 | 995.0249 | 0.000769 | 7.7284e-07 | 1.4914e-07 | 0.047132
36.85 | 0.628 | 4.178 | 4.62 | 993.0487 | 0.000695 | 6.9986e-07 | 1.5136e-07 | 0.062228
41.85 | 0.634 | 4.179 | 4.16 | 991.0803 | 0.000631 | 6.3668e-07 | 1.5308e-07 | 0.081341
46.85 | 0.64 | 4.18 | 3.77 | 989.1197 | 0.000577 | 5.7758e-07 | 1.5326e-07 | 0.10532
51.85 | 0.645 | 4.182 | 3.42 | 987.1668 | 0.000528 | 5.3486e-07 | 1.5624e-07 | 0.13513
56.85 | 0.651 | 4.184 | 3.15 | 984.252 | 0.000489 | 4.9682e-07 | 1.5784e-07 | 0.1719
61.85 | 0.656 | 4.186 | 2.88 | 982.3183 | 0.000453 | 4.6115e-07 | 1.5953e-07 | 0.21689
66.85 | 0.66 | 4.188 | 2.66 | 979.4319 | 0.00042 | 4.2882e-07 | 1.609e-07 | 0.27153
71.85 | 0.664 | 4.191 | 2.45 | 976.5625 | 0.000389 | 3.9834e-07 | 1.6321e-07 | 0.33742
76.85 | 0.668 | 4.195 | 2.29 | 973.7098 | 0.000365 | 3.7485e-07 | 1.6354e-07 | 0.41632
81.85 | 0.671 | 4.199 | 2.14 | 970.8738 | 0.000343 | 3.5329e-07 | 1.6459e-07 | 0.51022
86.85 | 0.674 | 4.203 | 2.02 | 967.118 | 0.000324 | 3.3502e-07 | 1.6581e-07 | 0.62127
91.85 | 0.677 | 4.209 | 1.91 | 963.3911 | 0.000306 | 3.1763e-07 | 1.6696e-07 | 0.75183
96.85 | 0.679 | 4.214 | 1.8 | 960.6148 | 0.000289 | 3.0085e-07 | 1.6774e-07 | 0.90449
100 | 0.68 | 4.217 | 1.76 | 957.8544 | 0.000279 | 2.9128e-07 | 1.6835e-07 | 1.0133
t | k | Cp | Pr | ragua | m | n | a | Psat
ºC | W/(m*K) | kJ/(kg*K) | - | kg/m3 | Pa s | m2/s | m2/s | bar
Saturation properties of water as a function of the temperature
Saturated Water Properties as a Function
of Temperature (Table A.6) |  | [1]

## 6.CS_Imp (hidden)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
2
3 | Pipe Thickness [mm], according ASME B36.10M
4
5 | [6 empty] | ASME B36.10M SCHEDULE / IDENTIFICATION | [9 empty] | Application |  | Dn = | 24 | mm
6 | Size | dext | 5 | 10 | 20 | 30 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | STD | XS | XXS | (with input validation) |  | SCH = | XS
7 | 0.5 | 21.3 | 1.65 | 2.11 | - | 2.41 | 2.77 | - | 3.73 | - | 0 | - | 4.78 | 2.77 | 3.73 | 7.47 | di = | Pipe_Imp_CS_Dint_dn_sch |  | #NAME? | mm
8 | 0.75 | 26.7 | 1.65 | 2.11 | - | 2.41 | 2.87 | - | 3.91 | - | 0 | - | 5.56 | 2.87 | 3.91 | 7.82 | de = | Pipe_Imp_CS_Dext_dn |  | #NAME? | mm
9 | 1 | 33.4 | 1.65 | 2.77 | - | 2.9 | 3.38 | - | 4.55 | - | 0 | - | 6.35 | 3.38 | 4.55 | 9.09 | s = | Pipe_Imp_CS_Thickness_dn_sch |  | #NAME? | mm
10 | 1.5 | 48.3 | 1.65 | 2.77 | - | 3.18 | 3.68 | - | 5.08 | - | 0 | - | 7.14 | 3.68 | 5.08 | 10.15
11 | 2 | 60.3 | 1.65 | 2.77 | - | 3.18 | 3.91 | - | 5.54 | - | 0 | - | 8.74 | 3.91 | 5.54 | 11.07 | Application |  | Dn = | 16 | mm
12 | 3 | 88.9 | 2.11 | 3.05 | - | 4.78 | 5.49 | - | 7.62 | - | 0 | - | 11.13 | 5.49 | 7.62 | 15.24 | (without input validation) |  | SCH = | 81
13 | 4 | 114.3 | 2.11 | 3.05 | - | 4.78 | 6.02 | - | 8.56 | - | 11.13 | - | 13.49 | 6.02 | 8.56 | 17.12 | di = | Pipe_Imp_CS_Dint_dn_sch |  | #NAME? | mm
14 | 5 | 141.3 | 2.77 | 3.4 | - | - | 6.55 | - | 9.53 | - | 12.7 | - | 15.88 | 6.55 | 9.53 | 19.05 | de = | Pipe_Imp_CS_Dext_dn |  | #NAME? | mm
15 | 6 | 168.3 | 2.77 | 3.4 | - | - | 7.11 | - | 10.97 | - | 14.27 | - | 18.26 | 7.11 | 10.97 | 21.95 | s = | Pipe_Imp_CS_Thickness_dn_sch |  | #NAME? | mm
16 | 8 | 219.1 | 2.77 | 3.76 | 6.35 | 7.04 | 8.18 | 10.31 | 12.7 | 15.09 | 18.26 | 20.62 | 23.01 | 8.18 | 12.7 | 22.23 | The shedule entered is wrong
17 | 10 | 273 | 3.4 | 4.19 | 6.35 | 7.8 | 9.27 | 12.7 | 15.09 | 18.26 | 21.44 | 25.4 | 28.58 | 9.27 | 12.7 | 25.4
18 | 12 | 323.8 | 3.96 | 4.57 | 6.35 | 8.38 | 10.31 | 14.27 | 17.48 | 21.44 | 25.4 | 28.58 | 33.32 | 9.53 | 12.7 | 25.4
19 | 14 | 355.6 | 3.96 | 6.35 | 7.92 | 9.53 | 11.13 | 15.09 | 19.05 | 23.83 | 27.79 | 31.75 | 35.71 | 9.53 | 12.7 | -
20 | 16 | 406.4 | 4.19 | 6.35 | 7.92 | 9.53 | 12.7 | 16.66 | 21.44 | 26.19 | 30.96 | 36.53 | 40.49 | 9.53 | 12.7 | -
21 | 18 | 457 | 4.19 | 6.35 | 7.92 | 11.13 | 14.27 | 19.05 | 23.83 | 29.36 | 34.93 | 39.67 | 45.24 | 9.53 | 12.7 | -
22 | 20 | 508 | 4.78 | 6.35 | 9.53 | 12.7 | 15.09 | 20.62 | 26.19 | 32.54 | 38.1 | 44.45 | 50.01 | 9.53 | 12.7 | -
23 | 22 | 559 | 4.78 | 6.35 | 9.53 | 12.7 | - | 22.23 | 28.58 | 34.93 | 41.28 | 47.63 | 53.98 | 9.53 | 12.7 | -
24 | 24 | 610 | 5.54 | 6.35 | 9.53 | 14.27 | 17.48 | 24.61 | 30.96 | 38.89 | 46.02 | 52.37 | 59.54 | 9.53 | 12.7 | -
25 | 26 | 660 | - | 7.92 | 12.7 | 15.88 | - | - | - | - | - | - | - | 9.53 | 12.7 | -
26 | 28 | 711 | - | 7.92 | 12.7 | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
27 | 30 | 762 | 6.35 | 7.92 | 12.7 | 15.88 | - | - | - | - | - | - | - | 9.53 | 12.7 | -
28 | 32 | 813 | - | 7.92 | 12.7 | 15.88 | 17.48 | - | - | - | - | - | - | 9.53 | 12.7 | -
29 | 34 | 864 | - | 7.92 | 12.7 | 15.88 | 17.48 | - | - | - | - | - | - | 9.53 | 12.7 | -
30 | 36 | 914 | - | 7.92 | 12.7 | 15.88 | 19.05 | - | - | - | - | - | - | 9.53 | 12.7 | -
31 | 38 | 965 | - | - | - | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
32 | 40 | 1016 | - | - | - | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
33 | 42 | 1067 | - | - | - | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
34 | 44 | 1118 | - | - | - | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
35 | 46 | 1168 | - | - | - | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
36 | 48 | 1219 | - | - | - | - | - | - | - | - | - | - | - | 9.53 | 12.7 | -
'PipeImp_CS_Dext_dn
'The function PipeImp_CS_Dext_dn gives the exterior diameter of a pipe with
'nominal diameter dn [in]
'If the diameter is a fraction, the input cell has to be formated as a fraction
Function PipeImp_CS_Dext_dn(Dn)
Dim msg As String
Dim C(36, 3) As Variant
Mensaje = "NO"
' Exterior diameters according ASME B36.10M, from Sheet 6.CS_Imp, 3th column
For m = 1 To 36
C(m, 3) = ThisWorkbook.Worksheets("6.CS_Imp").Cells(m, 3).Value
Next m
' The corresponding line of the matrix C is asigned to its Dn-value
If Dn = 0.5 Then
x = 7
ElseIf Dn = 0.75 Then x = 8
ElseIf Dn = 1 Then x = 9
ElseIf Dn = 1.5 Then x = 10
ElseIf Dn = 2 Then x = 11
ElseIf Dn = 3 Then x = 12
ElseIf Dn = 4 Then x = 13
ElseIf Dn = 5 Then x = 14
ElseIf Dn = 6 Then x = 15
ElseIf Dn = 8 Then x = 16
ElseIf Dn = 10 Then x = 17
ElseIf Dn = 12 Then x = 18
ElseIf Dn = 14 Then x = 19
ElseIf Dn = 16 Then x = 20
ElseIf Dn = 18 Then x = 21
ElseIf Dn = 20 Then x = 22
ElseIf Dn = 22 Then x = 23
ElseIf Dn = 24 Then x = 24
ElseIf Dn = 26 Then x = 26
ElseIf Dn = 28 Then x = 26
ElseIf Dn = 30 Then x = 27
ElseIf Dn = 32 Then x = 28
ElseIf Dn = 34 Then x = 29
ElseIf Dn = 36 Then x = 30
ElseIf Dn = 38 Then x = 31
ElseIf Dn = 40 Then x = 32
ElseIf Dn = 42 Then x = 33
ElseIf Dn = 44 Then x = 34
ElseIf Dn = 46 Then x = 35
ElseIf Dn = 48 Then x = 36
' If the Dn-value is not within the given values,
' The function returns Dext = "N/A"
Else
PipeImp_CS_Dext_dn = "N/A"
Exit Function
End If
' In case the input value for Dn was identified and therefore an x-value "x" has been defined,
' the value of the matrix element (x,3) is assigned to de exterior diameter Dext
PipeImp_CS_Dext_dn = C(x, 3)
End Function
'PipeImp_CS_Thickness_dn_sch
'The function PipeImp_CS_Thickness_dn_sch gives the thickness of a pipe with
'nominal diameter dn [in] and schedule sch
'If the diameter is a fraction, the input cell ha to be formated as a fraction
Function PipeImp_CS_Thickness_dn_sch(Dn, SCH)
Dim C(36, 17) As Variant
' Thickness according ASME B36.10M, from Sheet 6.CS_Imp
For m = 1 To 36
For j = 1 To 17
C(m, j) = ThisWorkbook.Worksheets("6.CS_Imp").Cells(m, j).Value
Next j
Next m
If PipeImp_CS_Dext_dn(Dn) = "N/A" Then
PipeImp_CS_Thickness_dn_sch = "N/A"
Exit Function
End If
If Dn = 0.5 Then
x = 7
ElseIf Dn = 0.75 Then x = 8
ElseIf Dn = 1 Then x = 9
ElseIf Dn = 1.5 Then x = 10
ElseIf Dn = 2 Then x = 11
ElseIf Dn = 3 Then x = 12
ElseIf Dn = 4 Then x = 13
ElseIf Dn = 5 Then x = 14
ElseIf Dn = 6 Then x = 15
ElseIf Dn = 8 Then x = 16
ElseIf Dn = 10 Then x = 17
ElseIf Dn = 12 Then x = 18
ElseIf Dn = 14 Then x = 19
ElseIf Dn = 16 Then x = 20
ElseIf Dn = 18 Then x = 21
ElseIf Dn = 20 Then x = 22
ElseIf Dn = 22 Then x = 23
ElseIf Dn = 24 Then x = 24
ElseIf Dn = 26 Then x = 26
ElseIf Dn = 28 Then x = 26
ElseIf Dn = 30 Then x = 27
ElseIf Dn = 32 Then x = 28
ElseIf Dn = 34 Then x = 29
ElseIf Dn = 36 Then x = 30
ElseIf Dn = 38 Then x = 31
ElseIf Dn = 40 Then x = 32
ElseIf Dn = 42 Then x = 33
ElseIf Dn = 44 Then x = 34
ElseIf Dn = 46 Then x = 35
ElseIf Dn = 48 Then x = 36
Else
PipeImp_CS_Thickness_dn_sch(Dn, SCH) = "N/A"
Exit Function
End If
If SCH = 5 Then
Y = 4
ElseIf SCH = 10 Then Y = 5
ElseIf SCH = 20 Then Y = 6
ElseIf SCH = 30 Then Y = 7
ElseIf SCH = 40 Then Y = 8
ElseIf SCH = 60 Then Y = 9
ElseIf SCH = 80 Then Y = 10
ElseIf SCH = 100 Then Y = 11
ElseIf SCH = 120 Then Y = 12
ElseIf SCH = 140 Then Y = 13
ElseIf SCH = 160 Then Y = 14
ElseIf SCH = "STD" Then Y = 15
ElseIf SCH = "XS" Then Y = 16
ElseIf SCH = "XXS" Then Y = 17
Else
PipeImp_CS_Thickness_dn_sch = "N/A"
Exit Function
End If
PipeImp_CS_Thickness_dn_sch = C(x, Y)
If PipeImp_CS_Thickness_dn_sch = " - " Then
PipeImp_CS_Thickness_dn_sch = "N/A"
End If
End Function
'PipeImp_CS_Dint_dn_sch
'The function PipeImp_CS_Dint_dn_sch gives the interior diameter of a pipe with
'nominal diameter dn [in] and schedule sch
'If the diameter is a fraction, the input cell ha to be formated as a fraction
Function PipeImp_CS_Dint_dn_sch(Dn, SCH)
If PipeImp_CS_Thickness_dn_sch(Dn, SCH) = "N/A" Then
PipeImp_CS_Dint_dn_sch = "N/A"
Exit Function
End If
If PipeImp_CS_Dext_dn(Dn) = "N/A" Then
PipeImp_CS_Dint_dn_sch = "N/A"
Exit Function
End If
PipeImp_CS_Dint_dn_sch = PipeImp_CS_Dext_dn(Dn) - PipeImp_CS_Thickness_dn_sch(Dn, SCH) * 2
End Function

## Pressure-Enthalpy Chart
Mollier diagram for water
Rev. Cjc. 04.04.2016
This graphic has been drawn using the Steamdat water function
This excellent set of functions is available and free to use (See sheet Steamdat)
www.piping-tolls.net
cjcruz[at]piping-tools.net

## Constant Quality
h = | H2O_Enthalpy_p_x(p,x) | [6 empty] | Constant Quality
Steam quality x
0% |  | 10% |  | 20% |  | 30% |  | 40% |  | 50% |  | 60% |  | 70% |  | 80% |  | 90% |  | 100%
h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p | h(p,x) | p
kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar
0.046735 | 0.006117 | 250.201 | 0.006117 | 500.3552 | 0.006117 | 750.5095 | 0.006117 | 1000.6637 | 0.006117 | 1250.818 | 0.006117 | 1500.9722 | 0.006117 | 1751.1265 | 0.006117 | 2001.2807 | 0.006117 | 2251.435 | 0.006117 | 2501.5892 | 0.006117
191.8319 | 0.1 | 431.1269 | 0.1 | 670.4219 | 0.1 | 909.7169 | 0.1 | 1149.0118 | 0.1 | 1388.3068 | 0.1 | 1627.6018 | 0.1 | 1866.8968 | 0.1 | 2106.1918 | 0.1 | 2345.4867 | 0.1 | 2584.7817 | 0.1
251.4506 | 0.2 | 487.2914 | 0.2 | 723.1321 | 0.2 | 958.9728 | 0.2 | 1194.8135 | 0.2 | 1430.6542 | 0.2 | 1666.495 | 0.2 | 1902.3357 | 0.2 | 2138.1764 | 0.2 | 2374.0171 | 0.2 | 2609.8579 | 0.2
317.6497 | 0.4 | 549.5723 | 0.4 | 781.4949 | 0.4 | 1013.4175 | 0.4 | 1245.3401 | 0.4 | 1477.2627 | 0.4 | 1709.1853 | 0.4 | 1941.1079 | 0.4 | 2173.0305 | 0.4 | 2404.953 | 0.4 | 2636.8756 | 0.4
359.9269 | 0.6 | 589.2904 | 0.6 | 818.6539 | 0.6 | 1048.0174 | 0.6 | 1277.381 | 0.6 | 1506.7445 | 0.6 | 1736.108 | 0.6 | 1965.4715 | 0.6 | 2194.835 | 0.6 | 2424.1986 | 0.6 | 2653.5621 | 0.6
391.725 | 0.8 | 619.1296 | 0.8 | 846.5341 | 0.8 | 1073.9387 | 0.8 | 1301.3433 | 0.8 | 1528.7479 | 0.8 | 1756.1524 | 0.8 | 1983.557 | 0.8 | 2210.9616 | 0.8 | 2438.3661 | 0.8 | 2665.7707 | 0.8
417.514 | 1 | 643.3059 | 1 | 869.0979 | 1 | 1094.8899 | 1 | 1320.6818 | 1 | 1546.4738 | 1 | 1772.2658 | 1 | 1998.0577 | 1 | 2223.8497 | 1 | 2449.6417 | 1 | 2675.4336 | 1
504.7019 | 2 | 724.8614 | 2 | 945.0208 | 2 | 1165.1803 | 2 | 1385.3397 | 2 | 1605.4992 | 2 | 1825.6586 | 2 | 2045.8181 | 2 | 2265.9775 | 2 | 2486.137 | 2 | 2706.2964 | 2
604.669 | 4 | 817.9649 | 4 | 1031.2608 | 4 | 1244.5567 | 4 | 1457.8525 | 4 | 1671.1484 | 4 | 1884.4443 | 4 | 2097.7402 | 4 | 2311.0361 | 4 | 2524.332 | 4 | 2737.6279 | 4
670.4237 | 6 | 878.9264 | 6 | 1087.4292 | 6 | 1295.9319 | 6 | 1504.4346 | 6 | 1712.9374 | 6 | 1921.4401 | 6 | 2129.9429 | 6 | 2338.4456 | 6 | 2546.9483 | 6 | 2755.4511 | 6
720.9384 | 8 | 925.5898 | 8 | 1130.2413 | 8 | 1334.8927 | 8 | 1539.5441 | 8 | 1744.1955 | 8 | 1948.847 | 8 | 2153.4984 | 8 | 2358.1498 | 8 | 2562.8013 | 8 | 2767.4527 | 8
762.6113 | 10 | 963.9662 | 10 | 1165.321 | 10 | 1366.6759 | 10 | 1568.0307 | 10 | 1769.3856 | 10 | 1970.7404 | 10 | 2172.0953 | 10 | 2373.4501 | 10 | 2574.805 | 10 | 2776.1598 | 10
908.5947 | 20 | 1097.4588 | 20 | 1286.323 | 20 | 1475.1871 | 20 | 1664.0512 | 20 | 1852.9153 | 20 | 2041.7795 | 20 | 2230.6436 | 20 | 2419.5077 | 20 | 2608.3718 | 20 | 2797.236 | 20
1087.4176 | 40 | 1258.7092 | 40 | 1430.0007 | 40 | 1601.2922 | 40 | 1772.5837 | 40 | 1943.8752 | 40 | 2115.1668 | 40 | 2286.4583 | 40 | 2457.7498 | 40 | 2629.0413 | 40 | 2800.3328 | 40
1213.6684 | 60 | 1370.8017 | 60 | 1527.935 | 60 | 1685.0683 | 60 | 1842.2016 | 60 | 1999.3349 | 60 | 2156.4682 | 60 | 2313.6015 | 60 | 2470.7348 | 60 | 2627.8681 | 60 | 2785.0014 | 60
1317.0625 | 80 | 1461.3464 | 80 | 1605.6303 | 80 | 1749.9141 | 80 | 1894.198 | 80 | 2038.4819 | 80 | 2182.7657 | 80 | 2327.0496 | 80 | 2471.3335 | 80 | 2615.6173 | 80 | 2759.9012 | 80
1408.0377 | 100 | 1540.0067 | 100 | 1671.9758 | 100 | 1803.9448 | 100 | 1935.9138 | 100 | 2067.8828 | 100 | 2199.8518 | 100 | 2331.8208 | 100 | 2463.7898 | 100 | 2595.7588 | 100 | 2727.7279 | 100
1450.5765 | 110 | 1576.4497 | 110 | 1702.323 | 110 | 1828.1963 | 110 | 1954.0695 | 110 | 2079.9428 | 110 | 2205.8161 | 110 | 2331.6894 | 110 | 2457.5626 | 110 | 2583.4359 | 110 | 2709.3092 | 110
1491.7629 | 120 | 1611.5032 | 120 | 1731.2436 | 120 | 1850.9839 | 120 | 1970.7243 | 120 | 2090.4646 | 120 | 2210.205 | 120 | 2329.9453 | 120 | 2449.6856 | 120 | 2569.426 | 120 | 2689.1663 | 120
1531.9891 | 130 | 1645.4879 | 130 | 1758.9867 | 130 | 1872.4855 | 130 | 1985.9842 | 130 | 2099.483 | 130 | 2212.9818 | 130 | 2326.4805 | 130 | 2439.9793 | 130 | 2553.4781 | 130 | 2666.9768 | 130
1571.6342 | 140 | 1678.7074 | 140 | 1785.7806 | 140 | 1892.8539 | 140 | 1999.9271 | 140 | 2107.0003 | 140 | 2214.0736 | 140 | 2321.1468 | 140 | 2428.22 | 140 | 2535.2933 | 140 | 2642.3665 | 140
1611.0628 | 150 | 1711.4598 | 150 | 1811.8569 | 150 | 1912.254 | 150 | 2012.651 | 150 | 2113.0481 | 150 | 2213.4452 | 150 | 2313.8422 | 150 | 2414.2393 | 150 | 2514.6364 | 150 | 2615.0334 | 150
1650.5987 | 160 | 1744.0272 | 160 | 1837.4557 | 160 | 1930.8842 | 160 | 2024.3127 | 160 | 2117.7412 | 160 | 2211.1696 | 160 | 2304.5981 | 160 | 2398.0266 | 160 | 2491.4551 | 160 | 2584.8836 | 160
1691.6695 | 170 | 1777.6605 | 170 | 1863.6515 | 170 | 1949.6426 | 170 | 2035.6336 | 170 | 2121.6246 | 170 | 2207.6156 | 170 | 2293.6066 | 170 | 2379.5976 | 170 | 2465.5886 | 170 | 2551.5796 | 170
1734.8162 | 180 | 1812.7252 | 180 | 1890.6341 | 180 | 1968.5431 | 180 | 2046.452 | 180 | 2124.361 | 180 | 2202.2699 | 180 | 2280.1789 | 180 | 2358.0878 | 180 | 2435.9968 | 180 | 2513.9057 | 180
1778.6652 | 190 | 1847.858 | 190 | 1917.0508 | 190 | 1986.2436 | 190 | 2055.4364 | 190 | 2124.6292 | 190 | 2193.822 | 190 | 2263.0148 | 190 | 2332.2076 | 190 | 2401.4004 | 190 | 2470.5933 | 190
1826.4788 | 200 | 1885.6681 | 200 | 1944.8574 | 200 | 2004.0467 | 200 | 2063.2359 | 200 | 2122.4252 | 200 | 2181.6145 | 200 | 2240.8038 | 200 | 2299.9931 | 200 | 2359.1824 | 200 | 2418.3717 | 200
1886.2697 | 210 | 1932.4013 | 210 | 1978.5329 | 210 | 2024.6645 | 210 | 2070.7961 | 210 | 2116.9277 | 210 | 2163.0593 | 210 | 2209.1909 | 210 | 2255.3225 | 210 | 2301.4541 | 210 | 2347.5857 | 210
2011.2797 | 220 | 2029.6907 | 220 | 2048.1017 | 220 | 2066.5127 | 220 | 2084.9238 | 220 | 2103.3348 | 220 | 2121.7458 | 220 | 2140.1568 | 220 | 2158.5679 | 220 | 2176.9789 | 220 | 2195.3899 | 220
2037.4729 | 220.64 | 2050.2349 | 220.64 | 2062.9969 | 220.64 | 2075.7589 | 220.64 | 2088.521 | 220.64 | 2101.283 | 220.64 | 2114.045 | 220.64 | 2126.807 | 220.64 | 2139.5691 | 220.64 | 2152.3311 | 220.64 | 2165.0931 | 220.64
x =
x =
x =
x =
x =
x =
x =
x =
x =
x =
x =

## Constant Temperature
h = | H2O_Enthalpy_t_p(B$4,C7) | [6 empty] | Constant Temperature
Constant temperature t [ºC]
0 |  | 50 |  | 100 |  | 150 |  | 200 |  | 250 |  | 300 |  | 350 |  | 400 |  | 450 |  | 500 |  | 550 |  | 600 |  | 650 |  | 700 |  | 750 |  | 800
h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p | h(p,t) | p
kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar
95.8953 | 1000 | 293.8717 | 1000 | 495.0674 | 1000 | 698.0046 | 1000 | 903.5311 | 1000 | 1113.0249 | 1000 | 1328.65 | 1000 | 1550.5997 | 1000 | 1797.6008 | 1000 | 2051.2398 | 1000 | 2316.1368 | 1000 | 2593.7869 | 1000 | 2857.4913 | 1000 | 3105.2945 | 1000 | 3324.3846 | 1000 | 3526.0422 | 1000 | 3714.2635 | 1000
77.5047 | 800 | 285.5506 | 900 | 479.7453 | 800 | 684.2789 | 800 | 891.9159 | 800 | 1104.4325 | 800 | 1326.4279 | 900 | 1552.6991 | 900 | 1804.5585 | 900 | 2069.3365 | 900 | 2397.408 | 800 | 2708.0227 | 800 | 2980.2529 | 800 | 3220.2623 | 800 | 3428.6934 | 800 | 3616.6531 | 800 | 3792.7525 | 800
58.8324 | 600 | 277.197 | 800 | 464.4553 | 600 | 670.742 | 600 | 880.7615 | 600 | 1096.8795 | 600 | 1324.7006 | 800 | 1555.9192 | 800 | 1814.2227 | 800 | 2094.0825 | 800 | 2570.5579 | 600 | 2896.2474 | 600 | 3151.5867 | 600 | 3362.3947 | 600 | 3546.9601 | 600 | 3717.3937 | 600 | 3879.6094 | 600
39.7413 | 400 | 268.811 | 700 | 449.2155 | 400 | 657.4433 | 400 | 870.2005 | 400 | 1090.7564 | 400 | 1323.5692 | 700 | 1560.5765 | 700 | 1827.7515 | 700 | 2129.9062 | 700 | 2906.7836 | 400 | 3151.6223 | 400 | 3346.4184 | 400 | 3517.008 | 400 | 3674.8151 | 400 | 3825.4601 | 400 | 3971.7218 | 400
20.1351 | 200 | 260.3928 | 600 | 434.0494 | 200 | 644.4497 | 200 | 860.4276 | 200 | 1086.7186 | 200 | 1323.1688 | 600 | 1567.1451 | 600 | 1847.2958 | 600 | 2187.0679 | 600 | 3241.0999 | 200 | 3394.0748 | 200 | 3535.5181 | 200 | 3671.1467 | 200 | 3803.8177 | 200 | 3934.9526 | 200 | 4065.2757 | 200
10.1198 | 100 | 251.9429 | 500 | 426.5035 | 100 | 638.0954 | 100 | 855.9248 | 100 | 1085.8276 | 100 | 1323.2674 | 650 | 1576.3902 | 500 | 1877.6564 | 500 | 2293.2164 | 500 | 3374.5982 | 100 | 3499.8434 | 100 | 3622.6954 | 100 | 3744.7447 | 100 | 3866.7566 | 100 | 3989.1083 | 100 | 4111.9906 | 100
8.0992 | 80 | 243.462 | 400 | 424.9979 | 80 | 636.8377 | 80 | 855.061 | 80 | 1085.7671 | 80 | 1323.6862 | 500 | 1589.6907 | 400 | 1934.1202 | 400 | 2515.5564 | 400 | 3398.7612 | 80 | 3519.748 | 80 | 3639.5309 | 80 | 3759.1828 | 80 | 3879.2196 | 80 | 3999.8943 | 80 | 4121.3313 | 80
6.0727 | 60 | 234.9507 | 300 | 423.4936 | 60 | 635.5848 | 60 | 854.2106 | 60 | 1085.7534 | 70 | 1325.3902 | 400 | 1610.0426 | 300 | 2161.7831 | 300 | 2825.5549 | 300 | 3422.1915 | 60 | 3539.31 | 60 | 3656.2085 | 60 | 3773.5499 | 60 | 3891.6532 | 60 | 4010.6721 | 60 | 4130.6749 | 60
4.0403 | 40 | 226.41 | 200 | 421.9906 | 40 | 634.3366 | 40 | 853.374 | 40 | 1085.7513 | 60 | 1328.6908 | 300 | 1647.177 | 200 | 2581.9824 | 250 | 3064.2724 | 200 | 3444.986 | 40 | 3558.5842 | 40 | 3672.757 | 40 | 3787.8607 | 40 | 3904.0652 | 40 | 4021.4457 | 40 | 4140.0238 | 40
2.002 | 20 | 217.841 | 100 | 420.4889 | 20 | 633.0935 | 20 | 852.5519 | 20 | 1085.7832 | 40 | 1334.2635 | 200 | 1663.6181 | 175 | 2820.4897 | 200 | 3243.6398 | 100 | 3467.2765 | 20 | 3577.639 | 20 | 3689.2107 | 20 | 3802.1325 | 20 | 3916.4645 | 20 | 4032.2199 | 20 | 4149.3806 | 20
1.7979 | 18 | 217.5835 | 97 | 420.3388 | 18 | 632.9695 | 18 | 852.3893 | 16 | 1085.7835 | 39.87 | 1336.1374 | 175 | 1666.0452 | 172 | 2856.6855 | 190
1.5937 | 16 | 217.4118 | 95 | 420.1888 | 16 | 632.8455 | 16 | 852.373 | 15.6 | 2801.1946 | 39.65 | 1338.2539 | 150 | 1667.7389 | 170 | 2890.3221 | 180
1.3894 | 14 | 216.9826 | 90 | 420.0387 | 14 | 632.7216 | 14 | 852.371 | 15.55 | 2802.097 | 39.5 | 1340.6481 | 125 | 2571.7151 | 165 | 2921.7482 | 170
1.1851 | 12 | 216.5533 | 85 | 419.8887 | 12 | 632.5977 | 12 | 2791.0004 | 15.54 | 2805.0875 | 39 | 1342.2356 | 110 | 2620.8074 | 160 | 2951.2649 | 160
0.98066 | 10 | 216.1239 | 80 | 419.7386 | 10 | 632.4739 | 10 | 2791.0693 | 15.53 | 2816.7895 | 37 | 1343.3636 | 100 | 2694.7813 | 150 | 2979.1292 | 150 | 3274.3095 | 80 | 3478.2851 | 10 | 3587.1096 | 10 | 3697.4143 | 10 | 3809.2599 | 10 | 3922.6625 | 10 | 4037.6089 | 10 | 4154.0629 | 10
0.77621 | 8 | 214.4057 | 60 | 419.5886 | 8 | 632.3501 | 8 | 2791.1383 | 15.52 | 2810.9895 | 38 | 1344.5517 | 90 | 2805.018 | 130 | 3099.926 | 100 | 3303.4546 | 60 | 3480.479 | 8 | 3589.0006 | 8 | 3699.0539 | 8 | 3810.685 | 8 | 3923.9022 | 8 | 4038.6869 | 8 | 4154.9997 | 8
0.5717 | 6 | 212.6865 | 40 | 419.4386 | 6 | 632.2264 | 6 | 2791.2761 | 15.5 | 2822.4912 | 36 | 1345.0448 | 86 | 2849.6583 | 120 | 3141.6038 | 80 | 3331.2184 | 40 | 3482.6708 | 6 | 3590.8908 | 6 | 3700.6932 | 6 | 3812.1101 | 6 | 3925.1419 | 6 | 4039.7651 | 6 | 4155.9366 | 6
0.36713 | 4 | 210.9663 | 20 | 419.2886 | 4 | 632.1646 | 5 | 2794.7013 | 15 | 2833.6126 | 34 | 2751.8389 | 85.8 | 2925.7658 | 100 | 3180.1214 | 60 | 3357.8296 | 20 | 3484.8608 | 4 | 3592.7803 | 4 | 3702.3322 | 4 | 3813.5351 | 4 | 3926.3816 | 4 | 4040.8433 | 4 | 4156.8737 | 4
0.1625 | 2 | 210.1058 | 10 | 419.1387 | 2 | 632.151 | 4.78 | 2826.7877 | 10 | 2844.3777 | 32 | 2753.1108 | 85.6 | 2989.8728 | 80 | 3215.7071 | 40 | 3370.8063 | 10 | 3487.0491 | 2 | 3594.6692 | 2 | 3703.971 | 2 | 3814.9601 | 2 | 3927.6214 | 2 | 4041.9216 | 2 | 4157.8109 | 2
0.060163 | 1 | 209.9336 | 8 | 419.0652 | 1.02 | 632.1504 | 4.77 | 2794.7013 | 15 | 2854.8061 | 30 | 2754.3774 | 85.4 | 3045.754 | 60 | 3248.6972 | 20 | 3373.3821 | 8 | 3488.1427 | 1 | 3595.6135 | 1 | 3704.7904 | 1 | 3815.6726 | 1 | 3928.2413 | 1 | 4042.4609 | 1 | 4158.2795 | 1
0.039694 | 0.8 | 209.7615 | 6 | 419.0648 | 1.0143 | 2745.3672 | 4.76 | 2814.4175 | 12 | 2879.5031 | 25 | 2755.6388 | 85.2 | 3095.0843 | 40 | 3264.4028 | 10 | 3375.9525 | 6 | 3488.3614 | 0.8 | 3595.8023 | 0.8 | 3704.9543 | 0.8 | 3815.8151 | 0.8 | 3928.3653 | 0.8 | 4042.5687 | 0.8 | 4158.3733 | 0.8
0.019224 | 0.6 | 209.5893 | 4 | 419.0647 | 1.014 | 2745.4557 | 4.75 | 2826.7877 | 10 | 2902.3705 | 20 | 2756.8951 | 85 | 3138.6362 | 20 | 3267.4947 | 8 | 3378.518 | 4 | 3488.5801 | 0.6 | 3595.9912 | 0.6 | 3705.1181 | 0.6 | 3815.9576 | 0.6 | 3928.4893 | 0.6 | 4042.6765 | 0.6 | 4158.467 | 0.6
0.0089888 | 0.5 | 209.4172 | 2 | 2676.025 | 1.012 | 2745.8977 | 4.7 | 2838.5585 | 8 | 2943.0448 | 10 | 2786.7704 | 80 | 3158.5387 | 10 | 3270.5727 | 6 | 3381.0793 | 2 | 3488.7988 | 0.4 | 3596.18 | 0.4 | 3705.282 | 0.4 | 3816.1001 | 0.4 | 3928.6133 | 0.4 | 4042.7844 | 0.4 | 4158.5607 | 0.4
|  | 209.3311 | 1 | 2676.0509 | 1.01 | 2751.9974 | 4 | 2849.7485 | 6 | 2950.4236 | 8 | 2885.0051 | 60 | 3162.3956 | 8 | 3273.6381 | 4 | 3382.3585 | 1 | 3489.0174 | 0.2 | 3596.3688 | 0.2 | 3705.4459 | 0.2 | 3816.2427 | 0.2 | 3928.7373 | 0.2 | 4042.8922 | 0.2 | 4158.6545 | 0.2
|  | 209.3139 | 0.8 | 2676.1804 | 1 | 2760.4267 | 3 | 2860.3814 | 4 | 2957.5705 | 6 | 2962.0075 | 40 | 3166.2168 | 6 | 3276.6922 | 2 | 3382.6142 | 0.8 | 3489.1267 | 0.1 | 3596.4632 | 0.1 | 3705.5278 | 0.1 | 3816.3139 | 0.1 | 3928.7993 | 0.1 | 4042.9462 | 0.1 | 4158.7013 | 0.1
|  | 209.2967 | 0.6 | 2678.7539 | 0.8 | 2768.5304 | 2 | 2870.4883 | 2 | 2964.4981 | 4 | 2995.0833 | 30 | 3170.0051 | 4 | 3278.2154 | 1 | 3382.8699 | 0.6 | 3489.1486 | 0.08 | 3596.4821 | 0.08 | 3705.5442 | 0.08 | 3816.3282 | 0.08 | 3928.8117 | 0.08 | 4042.9569 | 0.08 | 4158.7107 | 0.08
|  | 209.2794 | 0.4 | 2681.2971 | 0.6 | 2776.3206 | 1 | 2875.3573 | 1 | 2971.2219 | 2 | 3002.8557 | 27.5 | 3173.7636 | 2 | 3278.5198 | 0.8 | 3383.1256 | 0.4 | 3489.1705 | 0.06 | 3596.501 | 0.06 | 3705.5606 | 0.06 | 3816.3424 | 0.06 | 3928.8241 | 0.06 | 4042.9677 | 0.06 | 4158.7201 | 0.06
|  | 209.2622 | 0.2 | 2683.8101 | 0.4 | 2777.8423 | 0.8 | 2876.3171 | 0.8 | 2974.5132 | 1 | 3010.4369 | 25 | 3175.6327 | 1 | 3278.8241 | 0.6 | 3383.3812 | 0.2 | 3489.1923 | 0.04 | 3596.5199 | 0.04 | 3705.577 | 0.04 | 3816.3567 | 0.04 | 3928.8365 | 0.04 | 4042.9785 | 0.04 | 4158.7295 | 0.04
|  | 209.2558 | 0.125 | 2686.2935 | 0.2 | 2779.3523 | 0.6 | 2877.2724 | 0.6 | 2975.1661 | 0.8 | 3025.0401 | 20 | 3176.0058 | 0.8 | 3279.1282 | 0.4 | 3383.509 | 0.1 | 3489.2142 | 0.02 | 3596.5388 | 0.02 | 3705.5934 | 0.02 | 3816.3709 | 0.02 | 3928.8489 | 0.02 | 4042.9893 | 0.02 | 4158.7388 | 0.02
|  | 209.2557 | 0.124 | 2687.5242 | 0.1 | 2780.8505 | 0.4 | 2878.2233 | 0.4 | 2975.8173 | 0.6 | 3052.1432 | 10
|  | 209.2556 | 0.1235 | 2687.7695 | 0.08 | 2782.3373 | 0.2 | 2879.1697 | 0.2 | 2976.4668 | 0.4 | 3057.2562 | 8
|  | 2592.177 | 0.123 | 2688.0144 | 0.06 | 2783.0764 | 0.1 | 2879.6413 | 0.1 | 2977.1146 | 0.2 | 3062.2778 | 6
|  | 2592.1877 | 0.1225 | 2688.2591 | 0.04 | 2783.2239 | 0.08 | 2879.7354 | 0.08 | 2977.4379 | 0.1 | 3074.9531 | 0.8
|  | 2592.1983 | 0.122 | 2688.5035 | 0.02 | 2783.3712 | 0.06 | 2879.8296 | 0.06 | 2977.5025 | 0.08 | 3075.4309 | 0.6
|  | 2592.241 | 0.12 | 2688.6256 | 0.01 | 2783.5185 | 0.04 | 2879.9237 | 0.04 | 2977.5671 | 0.06 | 3075.908 | 0.4 | 3176.3786 | 0.6 | 3279.4323 | 0.2 | 3383.5346 | 0.08 | 3489.2251 | 0.01 | 3596.5482 | 0.01 | 3705.6015 | 0.01 | 3816.378 | 0.01 | 3928.8551 | 0.01 | 4042.9947 | 0.01 | 4158.7435 | 0.01
|  | 2592.6668 | 0.1 |  |  | 2783.6656 | 0.02 | 2880.0177 | 0.02 | 2977.6317 | 0.04 | 3076.3845 | 0.2 | 3176.7512 | 0.4 | 3279.5843 | 0.1 | 3383.5601 | 0.06
|  | 2593.092 | 0.08 |  |  | 2783.7392 | 0.01 | 2880.0648 | 0.01 | 2977.6963 | 0.02 | 3076.6225 | 0.1 | 3177.1235 | 0.2 | 3279.6147 | 0.08 | 3383.5857 | 0.04
|  | 2593.5164 | 0.06 | [6 empty] | 2977.7286 | 0.01 | 3076.6701 | 0.08 | 3177.3096 | 0.1 | 3279.6451 | 0.06 | 3383.6113 | 0.02
|  | 2593.9401 | 0.04 | [8 empty] | 3076.7177 | 0.06 | 3177.3468 | 0.08 | 3279.6755 | 0.04 | 3383.624 | 0.01
|  | 2594.363 | 0.02 | [8 empty] | 3076.7653 | 0.04 | 3177.384 | 0.06 | 3279.7059 | 0.02
|  | 2594.5742 | 0.01 | [8 empty] | 3076.8128 | 0.02 | 3177.4213 | 0.04 | 3279.7211 | 0.01
[12 empty] | 3076.8366 | 0.01 | 3177.4585 | 0.02
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =
t =

## Constant Entropy
h = | H2O_Enthalpy_p_s(p,s)
Constant entropy
Constant entropy s [kJ / (kg K ]
0.5 |  | 1 |  | 1.5 |  | 2 |  | 2.5 |  | 3 |  | 3.5 |  | 4 |  | 4.5 |  | 5 |  | 5.5 |  | 6 |  | 6.5 |  | 7 |  | 7.5 |  | 8 |  | 8.5 |  | 9 |  | 9.5 |  | 10 |  | 10.5 |  | 11
h(p,s) | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p | h | p
kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar | kJ/kg | bar
243.6584 | 1000 | 409.064 | 1000 | 596.3372 | 1000 | 808.1527 | 1000 | 1047.3295 | 1000 | 1316.6309 | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000 | 3173.5535 | 1000 | 3671.9302 | 1000 | 3901.5027 | 500 | 3999.9314 | 195.3024 | 4000.3247 | 64.2083 | 4000.577 | 21.5084 | 4000.6903 | 7.2539 | 4000.7394 | 2.4521 | 4000.769 | 0.8296 | 4000.7937 | 0.28075 | 4000.8162 | 0.095017 | 4000.8349 | 0.032158
233.9616 | 900 | 399.1731 | 900 | 586.1518 | 900 | 797.538 | 900 | 1036.093 | 900 | 1304.4842 | 900 |  | 900 |  | 900 |  | 900 |  | 900 | 3140.2258 | 900 | 3627.9449 | 900 | 3804.0148 | 400 | 3710.6072 | 100 | 3969.1422 | 60 | 3672.1006 | 10 | 3914.3782 | 6 | 3620.8984 | 1 | 3983.9826 | 0.8 | 3569.557 | 0.1 | 3922.4209 | 0.08 | 3790.9155 | 0.02
224.2308 | 800 | 389.2486 | 800 | 575.93 | 800 | 786.8804 | 800 | 1024.8022 | 800 | 1292.2593 | 800 |  | 800 |  | 800 |  | 800 |  | 800 | 3104.6742 | 800 | 3580.6375 | 800 | 3685.7111 | 300 | 3622.9435 | 80 | 3791.4214 | 40 | 3585.8729 | 8 | 3740.8436 | 4 | 3536.9929 | 0.8 | 3855.3627 | 0.6 | 3488.0463 | 0.08 | 3797.3196 | 0.06 | 3519.5118 | 0.01
214.4654 | 700 | 379.2899 | 700 | 565.6707 | 700 | 776.1787 | 700 | 1013.4545 | 700 | 1279.9515 | 700 |  | 700 |  | 700 |  | 700 |  | 700 | 3066.3776 | 700 | 3529.1802 | 700 | 3531.7757 | 200 | 3515.9541 | 60 | 3520.4522 | 20 | 3480.6098 | 6 | 3476.3561 | 2 | 3434.6046 | 0.6 | 3686.5548 | 0.4 | 3388.6209 | 0.06 | 3633.2216 | 0.04 | 3481.6603 | 0.009
204.6643 | 600 | 369.2958 | 600 | 555.3727 | 600 | 765.4312 | 600 | 1002.0476 | 600 | 1267.5552 | 600 | 1563.4689 | 600 |  | 600 |  | 600 |  | 600 | 3024.588 | 600 | 3472.3947 | 600 | 3299.1806 | 100 | 3376.063 | 40 | 3287.0984 | 10 | 3342.9935 | 4 | 3248.8044 | 1 | 3300.8209 | 0.4 | 3429.4904 | 0.2 | 3258.7787 | 0.04 | 3383.5493 | 0.02
194.8268 | 500 | 359.2655 | 500 | 545.0348 | 500 | 754.6363 | 500 | 990.5784 | 500 | 1255.0639 | 500 | 1549.3221 | 500 |  | 500 |  | 500 |  | 500 | 2978.1657 | 500 | 3408.5127 | 500 | 3231.6306 | 80 | 3164.0164 | 20 | 3219.2715 | 8 | 3134.6495 | 2 | 3182.7255 | 0.8 | 3098.467 | 0.2 | 3208.568 | 0.1 | 3062.5447 | 0.02 | 3169.2113 | 0.01
184.9517 | 400 | 349.1978 | 400 | 534.6558 | 400 | 743.7921 | 400 | 979.0435 | 400 | 1242.4705 | 400 | 1534.9798 | 400 |  | 400 |  | 400 |  | 400 | 2925.2237 | 400 | 3334.6823 | 400 | 3149.3146 | 60 | 2982.4571 | 10 | 3136.7039 | 6 | 2956.799 | 1 | 3102.3352 | 0.6 | 2925.9418 | 0.1 | 3144.4609 | 0.08 | 2895.3928 | 0.01 | 3139.4684 | 0.009
175.038 | 300 | 339.0917 | 300 | 524.2342 | 300 | 732.8962 | 300 | 967.4393 | 300 | 1229.7659 | 300 | 1520.4094 | 300 |  | 300 |  | 300 |  | 300 | 2862.23 | 300 | 3245.7884 | 300 | 3041.7934 | 40 | 2929.843 | 8 | 3029.1411 | 4 | 2905.3963 | 0.8 | 2997.7046 | 0.4 | 2876.119 | 0.08 | 3066.4992 | 0.06 | 2872.2936 | 0.009
165.0847 | 200 | 328.9459 | 200 | 513.7684 | 200 | 721.9465 | 200 | 955.7614 | 200 | 1216.9398 | 200 | 1505.5672 | 200 |  | 200 | 2143.9818 | 220.2973 |  | 200 | 2781.2536 | 200 | 3130.9412 | 200 | 2878.8118 | 20 | 2865.8857 | 6 | 2867.1059 | 2 | 2843.0072 | 0.6 | 2840.3305 | 0.2 | 2815.6727 | 0.06 | 2965.0802 | 0.04
155.0903 | 100 | 318.7589 | 100 | 503.2566 | 100 | 710.9404 | 100 | 944.0048 | 100 | 1203.979 | 100 | 1493.5409 | 120.5434 |  | 198.0799 | 2136.4512 | 200 | 2419.5098 | 150 | 2728.1166 | 150 | 3055.8667 | 150 | 2738.6489 | 10 | 2827.5111 | 5 | 2729.5496 | 1 | 2536.5863 | 0.1 | 2706.9786 | 0.1 | 2520.9493 | 0.01 | 2812.6473 | 0.02
153.0864 | 80 | 316.7164 | 80 | 501.1486 | 80 | 708.7321 | 80 | 941.6436 | 80 | 1201.3693 | 80 | 1489.4901 | 100 | 1804.3216 | 150 | 2073.6198 | 100 | 2365.6847 | 100 | 2657.7495 | 100 | 2957.8321 | 100 | 2354.9177 | 1 | 2782.7237 | 4 | 2377.0958 | 0.1 | 2240.7644 | 0.01 | 2380.8353 | 0.01 |  |  | 2665.8016 | 0.009
151.0808 | 60 | 314.6722 | 60 | 499.0386 | 60 | 706.5214 | 60 | 939.2789 | 60 | 1198.7535 | 60 | 1379.5559 | 10 | 1781.5549 | 100 | 1832.5869 | 10 | 2059.1024 | 10 | 2285.6179 | 10 | 2512.1334 | 10 | 2058.1147 | 0.1 | 2728.3659 | 3 | 2100.6934 | 0.01 | 2228.7065 | 0.009 | 2368.0147 | 0.009
149.0735 | 40 | 312.6263 | 40 | 496.9267 | 40 | 704.3083 | 40 | 936.9107 | 40 | 1198.3889 | 57.3 | 1236.5959 | 1 | 1606.0714 | 10 | 1609.3698 | 1 | 1795.7568 | 1 | 1982.1438 | 1 | 2168.5307 | 1 | 1820.5515 | 0.01 | 2656.4026 | 2 | 2089.3983 | 0.009
147.0644 | 20 | 310.5786 | 20 | 494.8128 | 20 | 702.0928 | 20 | 934.8148 | 22.3526 | 1197.0949 | 50 | 1101.1714 | 0.1 | 1422.9829 | 1 | 1420.1525 | 0.1 | 1579.6431 | 0.1 | 1739.1336 | 0.1 | 1898.6241 | 0.1 | 1810.7819 | 0.009 | 2541.3046 | 1
146.0592 | 10 | 309.5541 | 10 | 493.7551 | 10 | 700.9841 | 10 | 926.525 | 10 | 1153.0405 | 10 | 980.1257 | 0.01 | 1260.662 | 0.1 | 1260.2676 | 0.01 | 1400.3386 | 0.01 | 1540.4096 | 0.01 | 1680.4805 | 0.01 |  |  | 2217.6052 | 0.1
145.8581 | 8 | 309.3492 | 8 | 493.5435 | 8 | 700.7622 | 8 | 863.822 | 1 | 1050.209 | 1 | 974.9328 | 0.009 | 1120.1967 | 0.01 | 1253.5492 | 0.009 | 1392.8574 | 0.009 | 1532.1656 | 0.009 | 1671.4738 | 0.009 |  |  | 1960.6224 | 0.01
145.657 | 6 | 309.1442 | 6 | 493.3319 | 6 | 700.6699 | 7.1398 | 782.1904 | 0.1 | 941.6809 | 0.1 |  |  | 1114.241 | 0.009 | [10 empty] | 1950.0901 | 0.009
145.4559 | 4 | 308.9392 | 4 | 493.1203 | 4 | 677.4351 | 1 | 699.9838 | 0.01 | 840.0548 | 0.01
145.2548 | 2 | 308.7342 | 2 | 492.9086 | 2 | 622.6998 | 0.1 | 696.3164 | 0.009 | 835.6246 | 0.009
145.1542 | 1 | 308.6317 | 1 | 492.8849 | 1.83 | 559.9129 | 0.01
145.1341 | 0.8 | 308.6112 | 0.8 | 492.6467 | 1.5 | 677.4546 | 1.001
145.114 | 0.6 | 308.5907 | 0.6 | 491.0481 | 1 | 700.6699 | 7.1398
145.0938 | 0.4 | 308.5702 | 0.4 | 463.2093 | 0.1
145.0737 | 0.2 | 308.5653 | 0.36 | 419.8419 | 0.01
145.0637 | 0.1 | 308.4331 | 0.3
145.0617 | 0.08 | 307.416 | 0.2
145.0596 | 0.06 | 303.7188 | 0.1
145.0592 | 0.055112 | 279.7709 | 0.01
144.8367 | 0.04
139.7 | 0.01
[18 empty] | 2451.6498 | 192.7906 | 2687.6958 | 119.0225 | 2957.985 | 100 | 2785.889 | 12.7669 | 2782.6655 | 4 | 2729.4291 | 1 | 2761.8819 | 0.4 | 2706.8105 | 0.1 | 2737.078 | 0.04 | 2812.4416 | 0.02
[22 empty] | 2907.3761 | 80 |  |  | 2656.3407 | 2 | 2689.8018 | 0.8 | 2640.6096 | 0.2 | 2668.4356 | 0.08 | 2619.7315 | 0.02 | 2683.3968 | 0.01
[22 empty] | 2845.6077 | 60 |  |  |  |  | 2656.7544 | 0.65774 | 2599.0476 | 0.1531 | 2621.9579 | 0.06 | 2520.7586 | 0.01
[22 empty] | 2796.5091 | 47.1026 | [8 empty] | 2561.7836 | 0.04
[32 empty] | 2551.4048 | 0.037142
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =
s =

## Constant volume
t = | H2O_Temperature_p_v(p,v) |  |  | °C
h = | H2O_Enthalpy_t_p(t,p) |  |  | kJ/kg | [6 empty] | Constant specific volume
Constant specific volume v [m3/kg ]
0.001 |  |  | 0.0015 |  |  | 0.0025 |  |  | 0.005 |  |  | 0.01 |  |  | 0.025 |  |  | 0.05 |  |  | 0.1 |  |  | 0.2 |  |  | 0.3 |  |  | 0.4 |  |  | 0.5
p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p) | p | t(p,v) | h(t,p)
bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg | bar | ºC | kJ/kg
1000 | 100.084 | =H2O_Enthalpy_t_p(C9,B9) | 1000 | 416.7649 | 1882.6621
900 | 94.0423 | 463.2663 | 900 | 406.0715 | 1836.3569
800 | 87.8087 | 430.2021 | 800 | 395.3508 | 1789.0467 | [6 empty] | 400 | 704.1491 | 3687.5371 |  |  |  | 97 | 797.8274 | 4108.0484 |  |  |  | 9.8 | 182.2069 | 2783.6304
700 | 81.35 | 396.0663 | 700 | 384.6124 | 1741.2292 |  |  |  | 800 | 748.1815 | 3610.0627 | 300 | 543.9511 | 3255.9125 | 191 | 799.6581 | 4068.5978 | 95 | 777.29 | 4058.5972 | 49 | 798.8386 | 4133.0342 | 10 | 189.6203 | 2801.0388 | 6.4 | 165.0444 | 2767.011 | 4.7 | 152.0037 | 2750.5138 | 3.7 | 142.6881 | 2738.2841
600 | 74.6078 | 360.6026 | 600 | 373.858 | 1693.1747 |  |  |  | 700 | 678.1141 | 3402.7852 | 290 | 528.7178 | 3213.696 | 190 | 794.7648 | 4056.4036 | 90 | 726.1535 | 3936.4769 | 48 | 777.7536 | 4083.1334 | 12 | 267.4054 | 2974.9398 | 7 | 200.1086 | 2844.471 | 5 | 175.6584 | 2801.7448 | 4 | 172.6938 | 2801.9906
500 | 67.4988 | 323.4471 | 500 | 363.0689 | 1649.7984 |  |  |  | 600 | 610.2294 | 3197.7229 | 280 | 513.6481 | 3171.5187 | 180 | 746.0856 | 3935.7201 | 68 | 505.2134 | 3425.3375 | 46 | 735.6656 | 3984.3064 | 14 | 349.334 | 3149.2705 | 8 | 260.8309 | 2973.8405 | 6 | 257.4467 | 2973.2868 | 5 | 276.4396 | 3016.0228
400 | 59.9116 | 284.1116 | 400 | 352.1953 | 1603.3275 | 1000 | 580.7584 | 2758.4699 | 500 | 544.9352 | 2995.0232 | 270 | 498.7505 | 3129.334 | 170 | 697.8841 | 3817.373 | 66 | 485.5603 | 3380.7972 | 44 | 693.6951 | 3886.8226 | 16 | 432.9748 | 3326.2261 | 9 | 323.2311 | 3103.9756 | 7 | 341.6375 | 3146.8411 | 6 | 382.7029 | 3234.3785
300 | 51.5755 | 241.4376 | 300 |  |  | 900 | 554.2569 | 2667.2713 | 400 | 421.1828 | 2160.3111 | 260 | 484.0362 | 3087.0797 | 160 | 650.1833 | 3701.3661 | 64 | 466.0141 | 3336.4812 | 42 | 651.8372 | 3790.6887 | 18 | 517.3424 | 3507.5241 | 10 | 386.4602 | 3235.7139 | 8 | 426.7382 | 3323.9881 | 7 | 489.7222 | 3459.4847
200 | 42.0867 | 193.6877 | 200 |  |  | 800 | 528.1964 | 2575.4155 | 300 | 420.9555 | 2570.4436 | 250 | 469.5157 | 3044.6495 | 150 | 603.027 | 3587.6169 | 62 | 446.6051 | 3292.3783 | 40 | 610.1056 | 3695.9384 | 20 | 602.0956 | 3693.9159 | 12 | 513.9425 | 3506.3831 | 9 | 512.2151 | 3505.7972 | 8 | 597.0482 | 3692.5131
100 | 30.3358 | 136.137 | 150 |  |  | 700 | 502.3359 | 2483.1741 | 290 | 415.119 | 2546.3003 | 240 | 455.2087 | 3001.9222 | 145 | 579.6775 | 3531.5313 | 60 | 427.3459 | 3248.417 | 38 | 568.5097 | 3602.5683 | 22 | 687.1551 | 3885.6719 | 14 | 642.0815 | 3788.5287 | 10 | 597.9028 | 3692.7571 | 9 | 704.5764 | 3933.7315
80 | 27.4493 | 122.3275 | 125 |  |  | 600 | 476.4546 | 2391.2556 | 280 | 409.319 | 2521.7828 | 230 | 441.1466 | 2958.7801 | 140 | 556.5005 | 3475.9212 | 58 | 408.2685 | 3204.5542 | 36 | 527.0642 | 3510.5465 | 24 | 772.4723 | 4082.6822 | 16 | 770.6489 | 4082.4703 | 12 | 769.7249 | 4082.3525 | 9.5 | 758.3985 | 4057.329
60 | 24.214 | 107.0331 | 115 |  |  | 500 | 450.3272 | 2296.3055 | 270 | 403.5557 | 2496.9681 | 220 | 427.3592 | 2915.0583 | 120 | 466.0136 | 3256.9898 | 56 | 389.4059 | 3160.7298 | 34 | 485.7947 | 3419.8009 | 24.6 | 798.1115 | 4142.766 | 16.4 | 796.403 | 4142.6084 | 12.3 | 795.5494 | 4142.5465 | 9.8 | 790.7186 | 4132.4301
40 | 20.451 | 89.4977 | 114 |  |  | 400 | 423.7065 | 2191.9934 | 260 | 397.8289 | 2471.9138 | 210 | 413.8835 | 2870.6148 | 100 | 380.9608 | 3038.9164 | 54 | 370.7985 | 3116.8849 | 32 | 444.7476 | 3330.2024
20 | 15.638 | 67.5196 | 113.2 |  |  | 300 | 396.295 | 2075.0539 | 250 | 392.1386 | 2446.696 | 200 | 400.7549 | 2825.3474 | 90 | 341.6726 | 2927.4945 | 52 | 352.4855 | 3072.9423 | 30 | 404.018 | 3241.5721
10 | 12.2644 | 52.4508 |  |  |  | 250 | 382.1728 | 2012.6115 | 240 | 386.4847 | 2421.367 | 190 |  |  | 80 | 305.3614 | 2813.4775 | 50 | 334.5186 | 3028.8487 | 28 | 363.7548 | 3153.6212
8 | 11.4185 | 48.7154 |  |  |  | 240 | 379.3073 | 1999.84 | 230 | 380.8685 | 2395.9675 | 180 |  |  | 77 | 295.0996 | 2778.8727 | 48 | 316.9473 | 2984.5475 | 26 | 324.2024 | 3065.9801
6 | 10.4418 | 44.4302 |  |  |  | 230 | 376.4268 | 1986.96 | 220 | 375.2873 | 2370.3704 | 170 |  |  | 76 | 291.7418 | 2767.3171 | 46 | 299.8221 | 2939.999 | 24 | 285.7195 | 2978.2418
4 | 9.2959 | 39.4323 |  |  |  | 220 | 373.5306 | 1973.9047 |  |  |  | 160 | 351.6007 | 2638.9005 | 75.9 | 291.4069 | 2766.1568 | 44 | 283.1902 | 2895.1897 | 22 | 248.7498 | 2890.0562
2 | 7.7238 | 32.6422 |  |  |  | 218 | 372.9239 | 2248.2089 | [9 empty] | 42 | 267.0832 | 2850.1148 | 20 | 213.7378 | 2801.3341
1 | 6.5174 | 27.4795 | [15 empty] | 40 | 251.5299 | 2804.8445 | 19.95 | 212.8916 | 2799.1141
[18 empty] | 39.9 | 250.7668 | 2802.577
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
v =
vs =
v =
v =
v =
v =
s =
v =
v =
v =
v =
v =
v =
v =
v =

## Steamdat
From: Delin Lennart [mailto:Lennart.Delin@afconsult.com] | Note. At the time of this revision, the link of Afconsult is not working.
Sent: Tuesday, September 25, 2007 2:57 AM | The company, that is offering for free this file, is undertaking a major
To: Cruz, Carlos | change on his page. The file will be soon again available
Cc: Nygaard Johan | Date of this note: 04.04.2016
Subject: RE: Steam-dat | cjcruz[at]piping-tools.net
www.piping-tools.net
Carlos,
The file is still available and free to use at http://www.afconsult.com/templates/Page.asp?id=38516, unfortunately the webpage for the description is in swedish, but all files are in english. The links are:
Steamdat (zip-fil, 130 kB) Link to download Steamdat
Beskrivning av Steamdat (pdf, 35 kB)
We will try to fix the language.
Best regards
Lennart
Lennart Delin
Senior Consultant, ÅF-Process
Visiting address: Fleminggatan 7 ¦ Delivery: Box 8309, SE-104 20 Stockholm
Direct: +46 (0)10 505 12 78 ¦ Fax: +46 (0)10 505 27 57 ¦ Mobile: +46 (0)70 342 12 78
e-mail: lennart.delin@afconsult.com ¦ http://www.afconsult.com
New phonenumber
From: Cruz, Carlos [mailto:CCruz@hatch.cl]
Sent: den 24 september 2007 23:46
To: Delin Lennart
Subject: FW: Steam-dat
Hi Lennart,
I would like to send this lines to Johan, Could you send them to him?
Thanks.
Hi Johan
Do you remember me, Carlos Cruz, the Chilean engineer who asked you a permission to put your Steam-dat file on a certain web-page?
You agree then to give me a link in the web page your company where it would be possible to download the file. The idea was that we would say “this add-in is available for free from your company”, and we would insert the link you would give us.
The question is now, are you still decided to allow this file to be downloaded from your web page?
If you have not changed your mind, please let me know and tell me how would be possible to download your Steam-dat file.
I thank you in advance.
Regards
Carlos J. Cruz

## Prf. Mollier
Mollier diagram is a graphical representation of the thermodynamic properties and states of materials involving "Enthalpy" on one of the coordinates. Mollier diagrams are named after Richard Mollier.
Professor at the Maschinenbau Laboratory of the Technische Universität Dresden
Richard Mollier (1863-1935) was a professor at Dresden University who pioneered the graphical display of the relationship of temperature, pressure, enthalpy, entropy and volume of steam and
moist air that has since aided the teaching of thermodynamics to many generations of engineers. His enthalpy-entropy diagram for steam was first published in 1904.
He continued his work to update his thermodynamic diagrams and steam tables to account for new technical developments.
Professor Mollier was active in the area of the gasification and combustion processes as related to steam engines, combustion engines and refrigeration plants.
At the 1923 Thermodynamics Conference held in Los Angles, Professor Mollier was bestowed with the great honor of naming all thermodynamic diagrams having enthalpy as one of its coordinates as a "Mollier Diagram".
Mollier diagrams are routinely used in the design work associated with power plants (fossil or nuclear), compressors, steam turbines, refrigeration systems, air conditioning equipment to visualize the working cycles of thermodynamic systems

## Ref
[1] | Selección fina de bombas
http://www.fi.uba.ar/archivos/institutos_seleccion_bombas
[2] | Sumergencia mínima
http://prueba2.aguapedia.org/master/ponencias/modulo6/ponencias_modulo06_master_05-07/diseno_redes_y_estaciones_bombeo.pdf
[3]
[4] | Hidrostal
http://www.hidrostal-peru.com/images_turbinas/tipo_vn.pdf
[5]
http://www.scribd.com/doc/63456172/66/Sumergencia-minima
[11] | Heat ans mass transfer
Anthony F. Mills
Irwin, 1995
[12] | Heat transfer
J. P. Holman
McGraw-Hill, 1989